| Auditee(s), client number(s) | {Auditee} {Auditee_Client_Nr1} {Auditee_Client_Nr2} {Auditee_Client_Nr3} |
| --- | --- |
| Audit period (on site) | {Audit_period_from} - {Audit_Period_to} |
| Client response date for submitting corrective action plan | {YYYY-MM-DD} As per ‎1.2, for all MDSAP NCs client responds in 15 days, for non-MDSAP NCs client responds in 30 days. |
| Client response date(s) for submitting evidence of implementation | {YYYY-MM-DD} As per 1.2, for all Minor NCs ‘implementation to be reviewed during next audit’, for MDSAP Grade 4,5 submit evidence within 30 days, major submit evidence within 60 days |

# TERMINOLOGY

Requirement:	Need or expectation that is stated, generally implied or obligatory such as:

Any part of a law, ordinance, decree, or other regulation that applies to the Quality Management System of an organization involved in one or more stages of the life cycle of a medical device (e.g., (EN) ISO 13485, MDR, IVDR, MDSAP, MDD, AIMDD, IVD, (DIN EN) ISO 9001 etc.). Defined processes and documentation of the auditee’s management system. TÜV SÜD terms and conditions.

Objective evidence:    Data supporting the existence or verity of something such as records, statements of fact or other information. This evidence is relevant to the audit criteria and is verifiable.

Nonconformity: 	The non-fulfillment of a requirement.

  - Categorization of Findings

For the evaluation of the audit findings the following definitions apply:

Note: Improvement Potential (I) is not allowed

| Major Nonconformity: | Non-fulfillment of a requirement that affects the capability of the management system to achieve the intended results. Nonconformities could be classified as major in the following circumstances: - If there is a significant doubt that effective process control is in place, or that products or services will meet specified requirements. - A number of minor nonconformities associated with the same requirement or issue could demonstrate a systemic failure and thus constitute a major nonconformity. |
| --- | --- |
| Minor Nonconformity: | Non-fulfillment of a requirement that does not affect the capability of the management system to achieve the intended results. |
| Grade 1 – 5: Mandatory grades for MDSAP | Grade of each finding according to Global Harmonization Task Force document GHTF/SG3/N19:2012 “Quality management system – Medical devices - Nonconformity Grading System for Regulatory Purposes and Information Exchange” and MDSAP AU P0037 “Guidelines on the use of GHTF/SG3/N19:2012 for MDSAP purposes”. |

  - Client Response: Deadlines* and Required Actions** (in Calendar Days)

| All schemes |  |  |
| --- | --- | --- |
|  | Major NC | Minor NC |
| Evidence to provide to TÜV SÜD: Must be submitted to the audit team as soon as possible and no later than 30 days of audit end date: | CAPA plan including: - Completed “Root Cause Analysis” and “Root Cause” information in the “Client Response” section for each major NC (consider using 5-Why or Fishbone/6M methodologies) - Definition of corrective action plan in the “Corrective Action” section including completion due date under “Client Response” for each major NC | CAPA plan including: - Completed “Root Cause Analysis” and “Root Cause” information in the “Client Response” section for each minor NC (consider using 5-Why or Fishbone/6M methodologies) - Plan for corrections and corrective actions in the “Correction” and “Corrective Action” sections including completion due date under “Client Response” for each minor NC |
| Evidence to provide to TÜV SÜD: Must be submitted to the audit team as soon as possible and no later than 60 days of audit end date: | - Evidence of implementation of corrections and corrective actions - In some cases (for example, statistical analysis is available), evidence of effectiveness may be verified | - See below |
| Provide to TÜV at the next audit: | - Documented evidence of implementation and effectiveness for verification | - Evidence of implementation of planned corrections and corrective actions - Documented evidence of effectiveness for verification |

| MDSAP Program |  |  |
| --- | --- | --- |
|  | Grades 4, 5 | Grades 1, 2, 3 |
| Provide to TÜV SÜD: Must be submitted to the audit team as soon as possible and no later than 15 days of audit end date: | CAPA plan including: - Completed “Root Cause Analysis” and “Root Cause” information in the “Client Response” section for each NC (consider using 5-Why or Fishbone/6M methodologies) - Correction and corrective action plans in the “Correction” and “Corrective Action” sections including completion due date under “Client Response” for each NC |  |
| Provide to TÜV SÜD Must be submitted to the audit team as soon as possible and no later than 30 days of audit end date: | - Evidence of implementation of the correction / corrective actions - In some cases (for example, statistical analysis is available), evidence of effectiveness may be verified | - See below |
| Provide to TÜV at the next audit: | - Documented evidence of implementation and effectiveness for verification | - Evidence of implementation of planned corrections and corrective actions - Documented evidence of effectiveness for verification |

Note: For combined audits (multi-scheme), the stricter timelines apply.

Note: For multi-sites, consider IAF MD1 requirement to determine whether systemic deficiencies apply to other sites.

* Note that due dates presented may be adjusted down (but not up) by the audit team

** Note: Guidance on corrective action and preventive action and related QMS processes can be found in GHTF/SG3/N18:2010

# Audit Findings Acknowledgement

When a nonconformity is found, a record of this form should be completed even if the auditee corrects the nonconformity during the audit. In such case, a record of the auditee’s actions to resolve the issue should be described.

This document contains all audit findings. It shall be issued, through email, immediately after (before or during) the onsite audit at the closing meeting. The findings are classified as described above. Nonconformities shall be presented during the closing meeting in such a manner that they are understood by the client and the time frame for responding shall be agreed. This is acknowledged by the client by signing the “Receipt of Audit” section of the MHS Opening and Closing Document Package (ID 163350) and MHS UAA Opening and Closing Document Package (ID 332606) in case of unannounced audit.
(Note: “Understood” does not necessarily mean that the nonconformity has been accepted by the client.)

Failure to respond adequately by the due date may result in suspension or withdrawal of certification.

# Nonconformities

## Nonconformity 1

| NC Number: | # 1 | NC Type: | Minor ☐ Major ☐ | Grade: Grade 1 - 5 |  |
| --- | --- | --- | --- | --- | --- |
| Audit team: Description of detected nonconformity |  |  |  |  |  |
| Requirement: Description of nonconformity: Supporting objective evidence: Context and Significance (required for MDSAP): Identification of associated product(s) (if applicable): |  |  |  |  |  |
| Client response*: Root cause analysis, root cause, correction, and corrective action (In case of extensive response, it also may reference to attached documents) |  |  |  |  |  |
| Root cause analysis: Root cause(s): Correction(s) to eliminate detected nonconformity: Corrective action(s) to eliminate root cause(s) of detected nonconformity: Completion due date for implementation of correction(s) / corrective action(s): |  |  |  |  |  |
| Audit team: TÜV SÜD review of client response |  |  |  |  |  |
| Client response receiving date by TÜV SÜD: TÜV SÜD acceptance of client response: |  |  |  |  |  |
| TÜV SÜD evidence of implementation reviewed: TÜV SÜD acceptance of implementation evidence: |  |  |  |  |  |
| TÜV SÜD evidence of effectiveness reviewed: TÜV SÜD acceptance of effectiveness: |  |  |  |  |  |

## Nonconformity 2

| NC Number: | # 2 | NC Type: | Minor ☐ Major ☐ | Grade: Grade 1 - 5 |  |
| --- | --- | --- | --- | --- | --- |
| Audit team: Description of detected nonconformity |  |  |  |  |  |
| Requirement: Description of nonconformity: Supporting objective evidence: Context and Significance (required for MDSAP): Identification of associated product(s) (if applicable): |  |  |  |  |  |
| Client response*: Root cause analysis, root cause, correction, and corrective action (In case of extensive response, it also may reference to attached documents) |  |  |  |  |  |
| Root cause analysis: Root cause(s): Correction(s) to eliminate detected nonconformity: Corrective action(s) to eliminate root cause(s) of detected nonconformity: Completion due date for implementation of correction(s) / corrective action(s): |  |  |  |  |  |
| Audit team: TÜV SÜD review of client response |  |  |  |  |  |
| Client response receiving date by TÜV SÜD: TÜV SÜD acceptance of client response: |  |  |  |  |  |
| TÜV SÜD evidence of implementation reviewed: TÜV SÜD acceptance of implementation evidence: |  |  |  |  |  |
| TÜV SÜD evidence of effectiveness reviewed: TÜV SÜD acceptance of effectiveness: |  |  |  |  |  |

# Conclusion

The audit team reviewed all client responses and actions to nonconformities. Audit team:

☐	Accepts all responses and confirms that there was sufficient evidence of implementation of action plans, if applicable

☐	Does not accept all responses and / or could not confirm sufficient evidence of implementation of action plans

The audit team recommends:

☐	issuance of certificate (s)

☐	continuation of certificate (s)

☐	against initial certification

☐	suspension of certificate number (s) _____

☐	withdrawal of certificate number (s)______

☐	scope reduction of certificate number (s)______

☐	special audit for verification of implementation of corrections and corrective actions

|  | Lead Auditor Printed Name |  | Lead Auditor Signature |  | Date |
| --- | --- | --- | --- | --- | --- |

# Version History

Latest Version number: 1

| No. | Date (yyyy-mm-dd) | Name | Description of change |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |